Flowcell summary

Number of reads that passed flowcell

Barcode sequence are the tags

Pf clusters is reads

Percent perfect barcode higher the better

Percent PF clusters also want high

Most samples look good, may need to increase percentage to increase number of sequences thsast come back

R1 forward

R2 reverse

R1 15mB and R2 30mB (half as much data), Shauna is addressing this problem, R2 had a lot of error, potentially PEAR would remove a lot of the data

CyberDuck to download sequencing files

Cyber duck hit open connection button

Add the berkely link to the server with user name and password

And then you are into the directory

Navigate to the directory and find lane 7

And then downloading just a chunk at a time to avoid downloads failing

Unzip before walking away to make sure nothing is corrupted

Only available for a month but should get on this

MiSeq will be totally different